## Bolivian Law 1333
Nº | PARAMETROS | UNIDAD | CANCERIGENOS | CLASE “A” | CLASE “B” | CLASE “C” | CLASE “D”
1 | PH |  | NO | 6.0 a 8.5 | 6.0 a 9.0 | 6.0 a 9.0 | 6.0 a 9.0
2 | Temperatura | .C | NO | +/-3°C de C receptor | +/-3°C de C receptor | +/-3°C de C receptor | +/-3°C de C receptor
3 | Sólidos disueltos totales; | mg/l | NO | 1000 | 1500 | 2000 | 3000
4 | Aceites y Grasas; | mg/l | NO | Ausentes | Ausente | <0.3 | <1
5 | DBOS | mg/l | NO | <2 | <3 | <30 | <60
6 | DQO | mg/l | NO | <5 | <10 | <60 | <150
7 | NMP Colifecales NMP | N/100ml | NO | <50 y <= en 80% de muestras | <1000 y <= en 80% de muestras | <5000 y <= en 80% de muestras | <50000 y <= en 80% de muestras
8 | Parámetros | N/I |  | <1 | <1 | <1 | <1
9 | Color mg Pt/l | mg/l | NO | <10 | <50 | <100 | <200-1000***
10 | Oxígeno disuelto | mg/l | NO | >80% sat. | >70% sat. | >60% sat | >50% sat
11 | Turbidez | UNT | NO | <10 | <50 | <100<2000*** | <200-10000***
12 | Sólidos sedimentables | mg/l – ml/l | NO | <10 mg/l | <30 mg/l-0.1ml/l | <50mg/l-<1ml/l | <100-<1ml/l
13 | Aluminio | mg/l | NO | 0.2 c. Al | 0.5 c. Al | 1.0 c. Al | 1.0 c. Al
14 | Amoniaco | mg/l | NO | 0.5 c. NH3 | 1.0 c. NH3 | 4.0 c. NH3 | 4.0 c. NH3
15 | Antimonio | mg/l | NO | 0.1 c. Sb | 0.1 c. Sb | 0.1 c. Sb | 0.1 c. Sb
16 | Arsénico total | mg/l | SI | 0.05 c. As | 0.05 c. As | 0.05 c. As | 0.1 c. As
17 | Benceno | ug/l | SI | 2.0 c. Be | 6.0 c. Be | 10.0 c. Be | 20.0 c. Be
18 | Bario | mg/l | NO | 1.0 0.05 c. Ba | 1.0 0.05 c. Ba | 1.0 0.05 c. Ba | 5.0 c. Ba
19 | Berilio | mg/l | SI | 0.001 c. B | 0.001 c. B | 0.001 c. B | 0.002 c. B
20 | Boro | mg/l | NO | 1.0 c. B | 1.0 c. B | 1.0 c. B | 1.0 c. B
21 | Calcio | mg/l | NO | 200 | 300 | 400 | 500
22 | Cadmio | mg/l | SI | 0.005 | 0.005 | 0.005 | 0.005
23 | Cianuros | mg/l | NO | 0.02 | 0.1 | 0.2 | 0.5
24 | Cloruros | mg/l | NO | 400 c. Cl | 400 c. Cl | 400 c. Cl | 400 c. Cl
25 | Cobre | mg/l | NO | 0.5 c. Cu | 0.5 c. Cu | 0.5 c. Cu | 0.5 c. Cu
26 | Cobalto | mg/l | NO | 0.2 c. Co | 0.2 c. Co | 0.2 c. Co | 0.2 c. Co
27 | Cromo Hexavalente | mg/l | SI | 0.05 c. Cr total | 0.05 c. Cr total | 0.05 c. Cr+6 | 0.05 c. Cr+6
28 | Cromo Trivalente | mg/l | NO | 0.5 c. Cr total | 0.5 c. Cr total | 0.5 c. Cr+3 | 0.5 c. Cr+3
29 | 1.2 Dicloroteno | ug/l | SI | 10 | 10 | 10 | 10
30 | 1.1 Dicloroteno | ug/l | SI | 10 | 10 | 10 | 10
31 | Fenoles | mg/l | NO | 0.002 c. 6OH5OH | 0.002 c. 6OH5OH | 0.002 c. 6OH5OH | 0.002 c. 6OH5OH
32 | Estaño | mg/l | NO | 2.0 c. Sn | 2.0 c. Sn | 2.0 c. Sn | 2.0 c. Sn
33 | Fierro Soluble | mg/l | NO | 1.0 c. Fe | 1.0 c. Fe | 1.0 c. Fe | 1.0 c. Fe
34 | Floruros | mg/l | NO | 1.5 c. F | 1.5 c. F | 1.5 c. F | 1.5 c. F
35 | Fosfato Total | mg/l | NO | 0.4 c. Orthofosf | 0.5 c. Orthosf. | 1.0 c. Orthosf | 1.0 c. Orthosf
36 | Magnesio | mg/l | NO | 100 c. Mg | 150 c. Mg | 150 c. Mg | 150 c. Mg
37 | Manganeso | mg/l | NO | 0.5 c. Mn | 1.0 c. Mn | 1.0 c. Mn | 1.0 c. Mn
38 | Mercurio | mg/l | SI | 0.001 Hg | 0.001 Hg | 0.001 Hg | 0.001 Hg
39 | Litio | mg/l | NO | 2.5 c. Li | 2.5 c. Li | 2.5 c. Li | 5 c. Li
40 | Níquel | mg/l | NO | 0.05 c. Ni | 0.05 c. Ni | 0.5 c. Ni | 0.5 c. Ni
41 | Nitrato | mg/l | NO | 20.0 c. N03 | 50.0 c. N03 | 50.0 c. N03 | 50.0 c. N03
42 | Nitrito | mg/l | NO | <1.0 c.N | 1.0 c. N | 1.0 c. N | 1.0 c. N
43 | Nitrógeno Total | mg/l | NO | 5 c. N | 12 c. N | 12 c. N | 12 c. N
44 | Plomo | mg/l | NO | 0.05 c. Pb | 0.05 c. Pb | 0.05 c. Pb | 0.1 c. Pb
45 | Plata | mg/l | NO | 0.05 c. Ag | 0.05 c. Ag | 0.05 c. Ag | 0.05 c. Ag
46 | Pentaclorofenol | ug/l | SI | 5 | 10 | 10 | 10
47 | Selenio | mg/l | NO | 0.01 c. Se | 0.01 c. Se | 0.01c. Se | 0.05 c. Se
48 | Sodio | mg/l | NO | 200 | 200 | 200 | 200
49 | Sólidos flotantes | mg/l | NO | Ausentes | Ausentes | Ausentes | <ret.malla 1mm2
50 | Sulfatos | mg/l | NO | 300 c. SO4 | 400 c. SO4 | 400 c. SO4 | 400 c. SO4
51 | Sulfuros | mg/l | NO | 0.1 | 0.5 | 1 | 1
52 | S.A.A.M(Detergentes) | mg/l | NO | 0.5 | 0.5 | 0.5 | 0.5
53 | Tetracloroetano | ug/l | SI | 10 | 10 | 10 | 10
54 | Tricloroetano | ug/l | SI | 30 | 30 | 30 | 30
55 | Tetracloruro de carbono | ug/l | SI | 3 | 3 | 3 | 3
56 | 2.4.6 Triclorofenol | ug/l | SI | 10 | 10 | 10 | 10
57 | Uranio Total | mg/l | NO | 0.02 c. U | 0.02 c. U | 0.02 c. U | 0.02 c. U
58 | Vanadio | mg/l | NO | 0.1 c. V | 0.1 c. V | 0.1 c. V | 0.1 c. V
59 | Zinc | mg/l | NO | 0.2 c. Zn | 0.2 c. Zn | 5.0 c. Zn | 5.0 c. Zn
60 | PLAGUICIDAS | ug/l
61 | Aldrín – Dieldrín ≡ | ug/l | SI | 0.03 | 0.03 | 0.03 | 0.03
62 | Clordano ≡ | ug/l | SI | 0.3 | 0.3 | 0.3 | 0.3
63 | D.D.T ≡ | ug/l | SI | 1 | 1 | 1 | 1
64 | Endrín | ug/l | SI | 0.03 | 0.03 | 0.03 | 0.03
65 | Endosulfán | ug/l | SI | 70 | 70 | 70 | 70
66 | Heptacloro y heptacloripoxido ≡ | ug/l | SI | 0.1 | 0.1 | 0.1 | 0.1
67 | Lindano (Gama – BMC) ≡ | ug/l | SI | 30 | 30 | 30 | 30
68 | Metoxicloro | ug/l | SI | 30 | 30 | 30 | 30
69 | Bifenilas Policloradas (PCB’s): | ug/l | SI | 0.01 | 0.001 | 0.001 | 0.001
70 | Toxafeno ≡ | ug/l | SI | 0.01 | 0.01 | 0.01 | 0.05
71 | Demeton: | ug/l | NO | 0.1 | 0.1 | 0.1 | 0.1
72 | Gution: | ug/l | NO | 0.01 | 0.01 | 0.01 | 0.01
73 | Malation | ug/l | NO | 0.04 | 0.04 | 0.04 | 0.04
74 | Paration ≡ | ug/l | NO | ≡ | ≡ | ≡ | 0.02
75 | Carbaril: Comp. Organofosforados y Carbamatos totales: | ug/l |  | ≡ | ≡ | ≡ | ≡
76 | 2.4–D: Herbicida: Chlorophanoxy | ug/l | SI | 100 | 100 | 100 | 100
77 | 2.4.5–TP: Herbicida: Chlorophanox | ug/l | SI | 10 | 10 | 10 | 10
78 | 2.4.5–T: ≡ | ug/l | SI | 2 | 2 | 2 | 2
79 | RADIACION Radiación Alfa global | Bq/l | SI | 0.1 | 0.1 | 0.1 | 0.1
80 | Radiación beta global | Bq/l | SI | 1 | 1 | 1 | 1

## Water (US EPA 1981)
Parameter | Unit | Class A | Class B | Class C | Class D
As | mg/l | 0.03 | 0.03 | 0.03 | 0.1
Sb | mg/l | 0.01 | 0.01 | 0.01 | 0.01
Cd | mg/l | 0.005 | 0.005 | 0.005 | 0.005
Hg | mg/l | 0.001 | 0.001 | 0.001 | 0.001
Pb | mg/l | 0.05 | 0.05 | 0.05 | 0.1
Zn | mg/l | 0.2 | 0.2 | 5 | 5
pH low |  | 6 | 6 | 6 | 6
pH high |  | 8.5 | 9 | 9 | 9

## WHO Drinking Water
Metal ion | WHO Limit mg/L (ppm) | effects
Cu | 2 | allergies, anaemia, kidney disorder
An | 3 | respiratory disorder, neuronal disorder, prostate cancer
Ni | 0.07 | toxic at high levels, can be carcinogenic
Cd | 0.003 | renal toxicity, hypertension, lymphocytosis, pulmonary fibrosis, lung cancer, osteoporosis, hyperuricemia
Pb | 0.05 | penetrates blood brain barrier, Alzheimer's and dementia, neuro degenerative diseases, kidney damage
Fe | 3 | hemochromatosis at high levels, damage to liver cells
As | 0.05 | effects central nervous system, cardiovascular and pulmonary disease, anorexia, gastrointestinal disease, hyper pigmentation, skin cancer
Ag | 0.1 | argyria, gastroenteritis, neuronal disorder, mental fatigue, rheumatism
Cr | 0.05 | reproductive toxicity, embryotoxicity, mutagenicity, carcinogenicity, lung cancer, dermatitis, skin ulcers
Hg | 0.001 | impaired neurological development, effects on digestive system, immune system, hypertension

## Food, water, soil various stand
Matrix | Area of Application | Arsenic (As) | Cadmium (Cd) | Mercury (Hg) | Lead (Pb) | Source
Food | International | 0.1–0.2 | 0.05–2 | 0.5–1 | 0.01–3 | [1]
Food | European Union | 0.1–0.2 | 0.05–3 | 0.1–1 | 0.02–3 | [2,3]
Food | USA | NA | NA | NA | NA | The U.S. Food and Drug Administration has not established regulatory limits for trace metals in finished food products other than bottled water.
Food | China | 0.5 | 0.05 | 0.01 | 0.2 | Retrieved from [4]
Drinking water | International | 0.01 | 0.003 | 0.001 | 0.01 | [1]
Drinking water | European Union | 0.01 | 0.005 | 0.01 | 0.001 | [5]
Drinking water | USA | 0.01 | 0.005 | 0.002 | 0.015 | [6]
Drinking water | China | 0.01 | 0.005 | 0.001 | 0.01 | [7]
Irrigation water | International | 0.1 | 0.01 | NA | 5 | [8]
Irrigation water | USA | NA | 0.005–0.01 | NA | 5 | [9]
Irrigation water | China | 0.05 | NA | 0.01 | NA | Retrieved from [10]
Soil | International | 20 | 0.9–3 | 0.03–2 | 30–50 | [11,12]
Soil | European Union | NA | NA | NA | NA | The European Union has not established limits for heavy metals in soils. There is however on-going policy to manage contamination, see [13] which states limit values in sludge for use in agriculture (Cd: 1–3 ppm; Hg: 1–1.5 ppm; Pb: 50–300 ppm)
Soil | Finland | 5–100 | 1–20 | 0.5–5 | 60–750 | [14]. The Finnish standard values represent a good approximation of different national systems in Europe have been applied in an international context for agricultural soils as well.
Soil | UK | 32–640 | 10–230 | 1–3600 | 450–750 | [15]
Soil | USA | 0.11 | 0.48 | 1 | 200 | [16] [17] stated limit values in sludge for use in agriculture (As: 75 ppm; Cd: 85 ppm; Hg: 420 ppm; Pb: 840 ppm)
Soil | China | 20–40 | 0.3–0.6 | 0.3–1 | 80 | [18]
Source Number | Reference
1 | Codex Alimentarius. Codex general standard for contaminants and toxins in food and feed - CODEX STAN 193-1995. Joint FAO/WHO; 2015 p. 59. Available: 10.13140/RG.2.1.4910.2560
2 | Commission Regulation (EU) 2015/1006. Commission Regulation (EU) 2015/1006 of 25 June 2015 amending Regulation (EC) No 1881/2006 as regards maximum levels of inorganic arsenic in foodstuffs (OJ L161). EU; 2015 Jun. Report No.: OJ L161. Available: http://data.europa.eu/eli/reg/2015/1006/oj/eng
3 | Commission Regulation (EC) No 1881/2006. Commission Regulation (EC) No 1881/2006 of 19 December 2006 setting maximum levels for certain contaminants in foodstuffs (OJ L364). EU; 2006. Available: https://eur-lex.europa.eu/legalcontent/EN/TXT/?uri=CELEX:02006R1881-20100701
4 | Li J, Xie ZM, Xu JM, Sun YF. Risk assessment for safety of soils and vegetables around a lead/zinc mine. Environ Geochem Health. 2006;28: 37–44. doi:10.1007/s10653-0059009-x
5 | European Commission. Proposal for a Directive of the European Parliament and of the Council on the quality of water intended for human consumption (COM/2017/0753). EU; 2019.
6 | US EPA. Drinking water regulations (Safe Drinking Water Act). 2017. Available: https://www.epa.gov/dwreginfo/drinking-water-regulations
7 | Ministry of Health, China. Standards for drinking water quality (GB 5749-2006). 2006.
8 | Ayers RS, Westcot DW. Water quality for agriculture. Food and Agriculture Organization of the United Nations, http://www.fao.org/3/t0234e/T0234E06.htm#ch5.5 Rome; 1994.
9 | US EPA. Aircraft industry waste water recycling (EPA-600/2-78-130). 1978.
10 | Zhao X, Wang H, Tang Z, Zhao T, Qin N, Li H, et al. Amendment of water quality standards in China: viewpoint on strategic considerations. Environ Sci Pollut Res. 2018;25: 3078–3092. doi:10.1007/s11356-016-7357-y
11 | de Vries W, Schütze G, Lots S, Meili M, Römkens P, de Temmerman L, et al. Critical limits for cadmium, lead and mercury related to ecotoxicological effects on soil organisms, aquatic organisms, plants, animals and humans. In: Schütze G, Lorent U, Spranger T, editors. Proceedings of the expert meeting on critical limits for heavy metals and methods for their application, Berlin, 2–4 December 2002 Held under the UN/ECE Convention on Long-Range Transboundary Air Pollution UBA-Texte 47/03. Berlin: Umweltbundesamt; 2003. pp. 29–78.
12 | WHO/FAO. Codex alimentarius commission. Food additives and contaminants. Food Standards Programme, ALINORM 10/12A. Joint FAO/WHO; 2001. Available: 10.13140/RG.2.1.4910.2560
13 | Council Directive 86/278/EEC. Council Directive of 12 June 1986 on the protection of the environment, and in particular of the soil, when sewage sludge is used in agriculture (OJ L181). EU; 1986.
14 | Ministry of the Environment, Finland. Government Decree on the assessment of soil contamination and remediation needs (214/2007). 2007.
15 | UK Environment Agency. Soil guideline values for arsenic, cadmium, mercury and lead in soil (SC050021). 2009.

## RCRA Hazardous Waste Limits
Metal | EPA Allowable Limit | unit
As | 5 | ppm (mg/L)
Ba | 100 | ppm (mg/L)
Cd | 1 | ppm (mg/L)
Cr | 5 | ppm (mg/L)
Pb | 5 | ppm (mg/L)
Hg | 0.2 | ppm (mg/L)
Se | 1 | ppm (mg/L)
Ag | 5 | ppm (mg/L)

## Soils and Sludges (US EPA 1981)
Parameter | Soil limit (mg/Kg)
As | 20
Sb | 5
Cd | 3
Hg | 2
Pb | 100
Zn | 300

## Sediments (USGS)
Substance | PEL | SEL | TET | ERM | PEL-HA28 | Consensus-based PEC | Unit
As | 17 | 33 | 17 | 85 | 48 | 33 | mg/kg DW
Cd | 3.53 | 10 | 3 | 9 | 3.2 | 4.98 | mg/kg DW
Cr | 90 | 110 | 100 | 145 | 120 | 111 | mg/kg DW
Cu | 197 | 110 | 86 | 390 | 100 | 149 | mg/kg DW
Pb | 91.3 | 250 | 170 | 110 | 82 | 128 | mg/kg DW
Hg | 0.486 | 2 | 1 | 1.3 |  | 1.06 | mg/kg DW
Ni | 36 | 75 | 61 | 50 | 33 | 48.6 | mg/kg DW
Zn | 315 | 820 | 540 | 270 | 540 | 459 | mg/kg DW

## Fish (European Commission; FDA)
Parameter | Fish limit (mg/Kg)
Pb | 0.2
Cd | 0.05
As | 0.5

## Vegetables (European Commission
Parameter | Vegetable limit (mg/kg)
Pb | 0.3
Cd | 0.1
Hg | 0.02
Sb | 0.3
Zn | 5
As | 0.2

## Human Blood (Mexican Standard;
Parameter | Juvenile blood limit (ug/dl) | Adult blood limit (ug/dl)
Pb | 10 | 25
Cd | 0.5 | 0.5
As | 0.5 | 0.5

## Animal Blood (Zaragoza 1973)
Parameter | Animal blood limit (mg/kg)
Pb | 0.35
Cd | 0.35
As | 0.5